## Planning Parameters
2026/2027 RPM Base Residual Auction Planning Parameters |  |  | 2025-07-25
| RTO | Notes:
Installed Reserve Margin (IRM) | 19.1% | endorsed at the March 19, 2025 MRC meeting https://www.pjm.com/-/media/DotCom/committees-groups/committees/mrc/2025/20250319/20250319-item-04---irm-fpr-and-elcc-for-26-27-bra---presentation.pdf
Pool-Wide Accredited UCAP Factor | 76.99% | endorsed at the March 19, 2025 MRC meeting.
Reference Resource AUCAP Factor | 78%
Forecast Pool Requirement (FPR) | 0.917 | endorsed at the March 19, 2025 MRC meeting.
Preliminary Forecast Peak Load | 159329.1 | 2025 Load Report with adjustments for load served outside PJM.
Price Cap ($/MW-ICAP) | 256.75 | Established in ER25-1357
Price Floor ($/MW-ICAP) | 138.25 | Established in ER25-1357
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK | DOM | JCPL
CETO | NA | 590 | 6072 | 6877 | 6713 | 3017 | 1615 | 4334 | 3800 | 3720 | -1236 | 4775 | 1144 | 2626 | 2793 | 5511 | 3790
CETL | NA | 2715 | 8083 | 6999 | 8889 | 4425 | 1948 | 5870 | 10406 | 5199 | 6110 | 6000 | 3205 | 4157 | 5280 | 7374 | 4263
Reliability Requirement | 146104.8 | 52587.1 | 30428.6 | 13338.7 | 10797.6 | 5390.4 | 2634.1 | 6457.9 | 11923.5 | 5329.6 | 20669.5 | 6995.6 | 9521.8 | 3521.3 | 5514.7 | 25660.7 | 6184.5
Total Peak Load of FRR Entities | 12633.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 823.3 | 0 | 0
Preliminary FRR Obligation | 11585.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 755 | 0 | 0
Reliability Requirement adjusted for FRR | 134519.5 | 52587.1 | 30428.6 | 13338.7 | 10797.6 | 5390.4 | 2634.1 | 6457.9 | 11923.5 | 5329.6 | 20669.5 | 6995.6 | 9521.8 | 3521.3 | 5476.95 | 25660.7 | 6184.5
Gross CONE, $/MW-Day (UCAP Price) | 505.73 | 488.71 | 477.7 | 498.77 | 477.7 | 477.7 | 477.7 | 498.77 | 518.44 | 518.44 | 529.68 | 498.77 | 504.04 | 518.44 | 518.44 | 518.44 | 477.7
Net CONE, $/MW-Day (UCAP Price) | 212.14 | 267.33 | 323 | 171.02 | 369.29 | 369.29 | 216.17 | 261.07 | 204.03 | 204.03 | 352.25 | 80.97 | 317.14 | 162.73 | 194.21 | 146.43 | 361.37
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17 | 329.17
Point (b) UCAP Price, $/MW-Day | 177.24 | 200.5 | 242.25 | 177.24 | 276.97 | 276.97 | 177.24 | 195.8 | 177.24 | 177.24 | 264.19 | 177.24 | 237.86 | 177.24 | 177.24 | 177.24 | 271.03
Point (c) UCAP Price, $/MW-Day | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24 | 177.24
Point (d) UCAP Price, $/MW-Day |  | 177.24 | 177.24 |  | 177.24 | 177.24 |  | 177.24 |  |  | 177.24 |  | 177.24 |  |  |  | 177.24
Point (a) UCAP Level, MW | 134887.3 | 52789 | 30680.3 | 13358 | 10921.4 | 5452.2 | 2638.8 | 6483.7 | 11958.7 | 5345.3 | 20884.2 | 6993.3 | 9596.1 | 3528.1 | 5491.7 | 25701.2 | 6252.4
Point (b) UCAP Level, MW | 136361.4 | 53375.9 | 30885 | 13494.7 | 10959.6 | 5471.3 | 2670.4 | 6554.8 | 12082.6 | 5400.7 | 20979.5 | 7054 | 9664.6 | 3561.8 | 5547.5 | 25939.8 | 6277.3
Point (c) UCAP Level, MW | 140572.9 | 53558.9 | 31130 | 13938.9 | 11076.2 | 5529.5 | 2752.6 | 6573.2 | 12460.1 | 5569.4 | 21183.6 | 7310.4 | 9737.4 | 3679.8 | 5723.4 | 26815.4 | 6341.5
Point (d) UCAP Level, MW |  | 54953.5 | 31797.9 |  | 11283.5 | 5633 |  | 6748.5 |  |  | 21599.6 |  | 9950.3 |  |  |  | 6462.8
Nominated PRD Value, MW | 115 | 115 | 0 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 0 | 0 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 329.17 | 329.17 |  | 329.17 | [7 empty] | 329.17
Point (b1) UCAP Price, $/MW-Day |  | 200.5
Point (prd1) UCAP Price, $/MW-Day | 177.24 | 177.24 |  | 177.24 | [7 empty] | 177.24
Point (b2) UCAP Price, $/MW-Day | 177.24 |  |  | 177.24 | [7 empty] | 177.24
Point (c) UCAP Price, $/MW-Day | 177.24 | 177.24 |  | 177.24 | [7 empty] | 177.24
Point (d) UCAP Price, $/MW-Day |  | 177.24
Point (a1) UCAP Level, MW | 134781.8 | 52683.5 |  | 13252.5 | [7 empty] | 6887.8
Point (b1) UCAP Level, MW |  | 53270.4
Point (prd1) UCAP Level, MW | 136255.9 | 53453.4 |  | 13389.2 | [7 empty] | 6948.5
Point (b2) UCAP Level, MW | 136361.4 |  |  | 13494.7 | [7 empty] | 7054
Point (c) UCAP Level, MW | 140572.9 | 53558.9 |  | 13938.9 | [7 empty] | 7310.4
Point (d) UCAP Level, MW |  | 54953.5
Pre-Auction Credit Rate, $/MW | 38715.55 | 48787.73 | 58947.5 | 31211.15 | 67395.43 | 67395.43 | 39451.03 | 47645.28 | 37235.48 | 37235.48 | 64285.63 | 14777.03 | 57878.05 | 29698.23 | 35443.33 | 26723.48 | 65950.03
Post-Auction Credit Rate, $/MW | 24029.41 | 24029.41 | 24029.41 | 24029.41 | 37558.2445 | 37558.2445 | 24029.41 | 24029.41 | 24029.41 | 24029.41 | 30281.3125 | 24029.41 | 24029.41 | 24029.41 | 24029.41 | 24029.41 | 34176.0085
Please see 26/27 BRA Auction Results file (BRA ICTRs tab) for data on awarded Participant-Funded ICTRs
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 97% | 80.1% | 56.7% | NA | NA | 32.5% | NA | NA | NA | NA | 17.2% | NA | NA | 5% | 82.4% | 36.5%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO (Capacity Emergency Transfer Objective) | CETL (Capacity Emergency Transfer Limit) | CETL to CETO Ratio % | 2024 Zonal W/N Coincident Peak Loads | LA Adder** | Preliminary Zonal Peak Load Forecast minus LA Adder | Base Zonal FRR Scaling Factor | Preliminary Zonal Peak Load Forecast | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast minus FRR Load | LDA/Zone
RTO | NA | NA | NA | 153194 | 8452.7 | 150876.4 | NA | 159329.1 | 12633.9 | 146695.2 | RTO
AE | 2007 | >2,308.1 | >115% | 2370 | 0 | 2361 | 0.9962 | 2361 | 0 | 2361 | AE
AEP | 1450 | >1,667.5 | >115% | 22370 | 3621 | 21590 | 0.96513 | 25211 | 11789.9 | 13421.1 | AEP
APS | 1658 | >1,906.7 | >115% | 8790 | 170 | 8583 | 0.97645 | 8753 | 0 | 8753 | APS
ATSI | 3800 | 10406 | 273.8% | 12207.6 | 158.6 | 12343.4 | 1.0111 | 12502 | 0 | 12502 | ATSI
ATSI-CLEVELAND | 3720 | 5199 | 139.8% | NA | 0 | 4225.676 | NA | 4225.676 | 0 | 4225.676 | ATSI-CLEVELAND
BGE | 4775 | 6000 | 125.7% | 6310 | 20 | 6303 | 0.99889 | 6323 | 0 | 6323 | BGE
COMED | -1236 | 6110 | * | 19040 | 555 | 18686 | 0.98141 | 19241 | 0 | 19241 | COMED
DAYTON | 2626 | 4157 | 158.3% | 3190 | 0 | 3157 | 0.98966 | 3157 | 0 | 3157 | DAYTON
DEOK | 2793 | 5280 | 189% | 5060 | 0 | 5106 | 1.0091 | 5106 | 823.3 | 4282.7 | DEOK
DLCO | 1899 | >2,183.9 | >115% | 2640 | 0 | 2623 | 0.99356 | 2623 | 0 | 2623 | DLCO
DOM | 5511 | 7374 | 133.8% | 22356.1 | 3111.1 | 21081.9 | 0.943 | 24193 | 0 | 24193 | DOM
DPL | 1493 | >1,717.0 | >115% | 3760 | 0 | 3757 | 0.9992 | 3757 | 0 | 3757 | DPL
DPL SOUTH | 1615 | 1948 | 120.6% | NA | 0 | 2303.041 | NA | 2303.041 | 0 | 2303.041 | DPL SOUTH
EKPC | 1002 | >1,152.3 | >115% | 2390.3 | 0 | 2402.1 | 1.0049 | 2402.1 | 20.7 | 2381.4 | EKPC
JCPL | 3790 | 4263 | 112.5% | 5810 | 0 | 5747 | 0.98916 | 5747 | 0 | 5747 | JCPL
METED | 1489 | >1,712.4 | >115% | 2960 | 0 | 3009 | 1.0166 | 3009 | 0 | 3009 | METED
OVEC | NA | NA | NA | 60 | 0 | 60 | 1 | 60 | 0 | 60 | OVEC
PECO | 2915 | >3,352.3 | >115% | 8120 | 18 | 8161 | 1.005 | 8179 | 0 | 8179 | PECO
PENLC | 328 | >377.2 | >115% | 2760 | 0 | 2796 | 1.013 | 2796 | 0 | 2796 | PENLC
PEPCO | 4334 | 5870 | 135.4% | 5810 | 0 | 5869 | 1.0102 | 5869 | 0 | 5869 | PEPCO
PL (incl. UGI) | 1144 | 3205 | 280.2% | 7100 | 484 | 7172 | 1.0101 | 7656 | 0 | 7656 | PL (incl. UGI)
PS | 6713 | 8889 | 132.4% | 9700 | 315 | 9678 | 0.99773 | 9993 | 0 | 9993 | PS
PS NORTH | 3017 | 4425 | 146.7% | NA | 0 | 5006.493 | NA | 5006.493 | 0 | 5006.493 | PS NORTH
RECO | NA | NA | NA | 390 | 0 | 391 | 1.0026 | 391 | 0 | 391 | RECO
EMAAC | 6072 | 8083 | 133.1% |  |  |  |  | 30428 | 0 |  | EMAAC
SWMAAC | 6877 | 6999 | 101.8% |  |  |  |  | 12192 | 0 |  | SWMAAC
Western MAAC | -6228 | * | * |  |  |  |  | 13461 | 0 |  | Western MAAC
MAAC | 590 | 2715 | * |  |  |  |  | 56081 | 0 |  | MAAC
Western PJM | 990 | >1,138.5 | * |  |  |  |  | 79055.1 | 12633.9 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
** LA Adder represents Load Adjustments in auction DY for each zone. See M19 Attachment B.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Mean Voltage |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
EMAAC | Mean Voltage |  | Elroy - Hosensack 500 kV for the loss of Alburtis - Branchburg 500 kV Keeney - Rock Springs 500 kV for the loss of Peach Bottom - Limerick 500 kV
SWMAAC | Mean Voltage |  | Voltage collapse for the loss of Brandon Shores unit #2
PS | Mean Thermal |  | Brunswick - Meadow Road 230 kV ckt Z2331 for the loss of Metuchen -Pierson Ave - Meadow Rd- Deans 230 kV ckt s2219 Stanley Terrace - McCarter 230 kV for the loss of West Orange - Orange Heights 230 kV Roseland - Williams PIPE 230 kV for the loss of Roseland - Cedar Grove 230 kV
PSNORTH | Discrete Thermal |  | Roseland - Williams PIPE 230 kV for the loss of Roseland - Cedar Grove 230 kV Stanley Terrance - McCarther 230kV for the loss of WEST ORANGE - ORANGE HEIGHTS 230 kV
DPLSOUTH | Mean Thermal |  | Silver Run - Cedar Creek 230 kV line for the loss of Silver Run - Cartanza 230 kV line Elroy - Hose 500 kV line for the loss of Alburtis-Branchburg 500 kV line Keeney - Rock Springs 500 kV line for the loss of Peach Bottom - Limerick 500 kV line
PEPCO | Mean/Discrete Voltage |  | NorthWest326 - Conastone 230 kV line for the loss of Brighton - Conastone 500 kV line 'NorthWest326 - Conastone 230 kV line for the loss of NorthWest311 - Conastone 230 kV line
ATSI | Mean Thermal |  | Sporn - Muskingum River 345 kV line for the loss of Kammer - Belmont - Mountaineer 765 kV
ATSI-CLEVELAND | Mean/Discrete thermal |  | Inland - Clinic Hospital 138 kV line for the loss of Inland 345/138 kV transformer #4
COMED | Mean Thermal |  | Dumont - Stillwell 345 kV for the loss of Dumont - Wilton 765 kV line Olive - University Park 345 kV for the loss of Dumont - Wilton 765 kV line
BGE | Mean/Discrete Voltage |  | Voltage drop across BGE and PEPCO for the loss of Conastone - Brighton 500 kV line
PL | Mean Thermal |  | Wescosville 500/138 kV transformer pre-contingency
DAYTON | Mean/Discrete Voltage |  | Shelby - Sidney 138 kV pre-contingency
DEOK | Mean Thermal |  | Pierce - DOEX530 345 kV line ckt 2 for the loss of Pierce - DOEX530 345 kV line ckt 1,or Pierce - DOEX530 345 kV line ckt 1 for the loss of Pierce - DOEX530 345 kV line ckt 2
DOM | Discrete Voltage |  | Dickerson - Dickerson H 230 kV ckt 2 for the loss of Doubs - Goose Creek 500 kV
JCPL | Discrete Thermal |  | Smithburg - East Windsor 230 kV for the loss of Deans - Smithburg 500 kV
3/31/2025 - Initial posting - please note that resources with Reliability Must Run requirements are included in the Planning Parameters modeling.
4/28/2025 - Cap set to $256.75/MW-ICAP Floor set to $138.25/MW-ICAP per ER25-1357. When floor price is reached all available capacity will be procured at that price.
5/30/2025 - RMR units included in the Planning Parameters for the 2026/2027 DY are the Brandon Shores and Wagner resources located in the BGE LDA.
5/30/2025 - Added FRR data
7/25/2025 - Added Post-Auction Credit Rate data

## Net CONE
RPM CONE and E&AS Values for 2026/2027 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / Pool-Wide Average Accredited UCAP Factor
Reference Resource Accredited UCAP Factor | [6 empty] | 78%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: ComEd
Zone/LDA | 2026/2027 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2026/2027 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Forward Net E&AS Revenue Offset, $/MW-Year | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 136000 | 1 | 136000 | 477.7
AE |  |  |  | 477.7 | 34733.4 | 277.4427 | 355.7
DPL |  |  |  | 477.7 | 74457.5667 | 168.6094 | 216.17 | DPL SOUTH
JCPL |  |  |  | 477.7 | 33117.6667 | 281.8694 | 361.37 | JCPL
PE |  |  |  | 477.7 | 54793.8 | 222.4827 | 285.23
PSEG |  |  |  | 477.7 | 30863.1833 | 288.0461 | 369.29 | PS, PSEG NORTH
RECO |  |  |  | 477.7 | 36281 | 273.2027 | 350.26
EMAAC |  |  |  | 477.7 |  | 251.94 | 323 | EMAAC
CONE Area 2 | 142000 | 1 | 142000 | 498.77
BGE |  |  |  | 498.77 | 118948.6333 | 63.1544 | 80.97 | BGE
PEPCO |  |  |  | 498.77 | 67672.2167 | 203.6378 | 261.07 | PEPCO
SWMAAC |  |  |  | 498.77 |  | 133.4 | 171.02 | SWMAAC
CONE Area 4 | 143500 | 1 | 143500 | 504.04
METED |  |  |  | 504.04 | 70542.3333 | 199.884 | 256.26
PENELEC |  |  |  | 504.04 | 118689.4833 | 67.974 | 87.15
PPL |  |  |  | 504.04 | 53209.7 | 247.3707 | 317.14 | PPL
MAAC |  |  |  | 488.71 |  | 208.52 | 267.33 | MAAC
CONE Area 3 | 147600 | 1 | 147600 | 518.44
AEP |  |  |  | 518.44 | 97569.3667 | 137.0702 | 175.73
APS |  |  |  | 518.44 | 125349.5167 | 60.9602 | 78.15
ATSI |  |  |  | 518.44 | 89511.3833 | 159.1469 | 204.03 | ATSI, ATSI CLEVELAND
DAYTON |  |  |  | 518.44 | 101270.4667 | 126.9302 | 162.73 | DAYTON
DEOK |  |  |  | 518.44 | 92307.2833 | 151.4869 | 194.21 | DEOK
DLCO |  |  |  | 518.44 | 77730.4 | 191.4236 | 245.41
DOM |  |  |  | 518.44 | 105910.8333 | 114.2169 | 146.43 | DOM
EKPC |  |  |  | 518.44 | 87613.3833 | 164.3469 | 210.7
OVEC |  |  |  | 518.44 | 87331.1167 | 165.1202 | 211.69
CONE Area 5 | 150800 | NA | 150800 | 529.68
COMED |  |  |  | 529.68 | 50514.7833 | 274.754 | 352.25 | COMED
RTO | 143980 |  | 143980 | 505.73 | 83583.7833 | 165.4691 | 212.14 | RTO
CONE Area 5 based on asset life factor of CONE Area 3. 25/26: 1.0069; 27/28: 1.0376; 28/29: 1.0581; 29/30: 1.0818
* The 2026/2027 BRA CONE values are based on PJM’s filing (Docket No. ER25-682) which was FERC approved on February 18, 2025.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2026/2027 model
Upgrade ID | Description | Transmission Owner
b3718.3 | Construct a new 500 kV transmission line for ~ 3.5 miles along with substation upgrades at Wishing Star and Mars. New right-of-way will be needed and will share same structures with the line. New conductor to have a minimum summer normal rating of 4357 MVA. | Dominion
b3718.1 | Install one 500/230kV 1440MVA transformer at a new substation called Wishing Star. Cut and extend 500 kV Line #546 (Brambleton-Mosby) and 500 kV Line #590 (Brambleton-Mosby) to the proposed Wishing Star substation. Lines to terminate in a 500 kV breaker and a half configuration. | Dominion
s2738 | *Obtain land and build a new 500/230kV Finneywood switching station at the intersection of 500kV Line #556 (Clover-Rawlings) and 230kV Line #235 (Cloud – Farmville). | Dominion
* Cut and terminate 500kV Line #556 into Finneywood 500/230kV switching station. Cut and terminate 230kV Line #235 into Finneywood 500/230kV switching station. In the new Finneywood switching station, install two 840 MVA 500/230kV transformers, a 230kV breaker and half bus with 12 breakers and a 500kV ring bus with 6 breakers.
* Construct Butler Farm 230kV substation with four 230kV breaker ring bus to terminate two 230kV lines. Construct one new 230kV transmission line for approximately 20 miles from Clover Sub to Butler Farm Substation. Construct one new 230kV transmission line for approximately 10 miles from Finneywood Sub to Butler Farm Substation.
* New right-of-way will be needed for both transmission lines. New conductor to have a minimum summer normal rating of 1573 MVA.
b3020 | Rebuild 500kV Line #574 Ladysmith to Elmont - 26.2 miles long | Dominion
b2443.6 | Install a second 500/230 kV transformer at Possum Point substation and replace bus work and associated equipment as needed. | Dominion
b3326.0 | Rebuild the 13707 Vienna-Nelson 138 kV line | DPL
Key Transmission Upgrades included for 2025/2026 model but not included for 2026/2027 model
Upgrade ID | Description | Transmission Owner
None