## Planning Parameters
2027/2028 RPM Base Residual Auction Planning Parameters |  |  | 2026-01-05
| RTO | Notes:
Installed Reserve Margin (IRM) | 20% | presented at the July 23, 2025 MRC meeting https://www.pjm.com/-/media/DotCom/committees-groups/committees/mrc/2025/20250723/20250723-item-04---1-2027-2028-bra-fpr-and-irm---presentation.pdf
Pool-Wide Accredited UCAP Factor | 77.17% | presented at the July 23, 2025 MRC meeting.
Reference Resource AUCAP Factor | 77%
Forecast Pool Requirement (FPR) | 0.926 | presented at the July 23, 2025 MRC meeting.
Preliminary Forecast Peak Load | 164579 | 2025 Load Report with adjustments for load served outside PJM.
Price Cap ($/MW-ICAP) | 256.75 | Established in ER25-1357
Price Floor ($/MW-ICAP) | 138.25 | Established in ER25-1357
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK | DOM | JCPL
CETO | NA | 1738 | 6366 | 6760 | 6878 | 3097 | 1642 | 4242 | 3874 | 3802 | -1168 | 4750 | 2161 | 2796 | 2805 | 6802 | 3692
CETL | NA | 2598 | 8025 | 6698 | 9307 | 4623 | 1974 | 6776 | 9919 | 4938 | 3965 | 5975 | 6181 | 4665 | 4938 | 6598 | 4331
Reliability Requirement | 152400.2 | 54568.8 | 30950.7 | 13494.8 | 11041.5 | 5508.3 | 2616.1 | 6523 | 12210.8 | 5455.9 | 21307 | 7080.9 | 10697.5 | 3724.7 | 5554.5 | 27507.3 | 6212.7
Total Peak Load of FRR Entities | 12201.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 11299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 141101.2 | 54568.8 | 30950.7 | 13494.8 | 11041.5 | 5508.3 | 2616.1 | 6523 | 12210.8 | 5455.9 | 21307 | 7080.9 | 10697.5 | 3724.7 | 5554.5 | 27507.3 | 6212.7
Gross CONE, $/MW-Day (UCAP Price) | 529.8 | 510.82 | 504.63 | 523.74 | 504.63 | 504.63 | 504.63 | 523.74 | 542.83 | 542.83 | 563.24 | 523.74 | 514.57 | 542.83 | 542.83 | 542.83 | 504.63
Net CONE, $/MW-Day (UCAP Price) | 242.52 | 301.5 | 358.84 | 218.78 | 405.43 | 405.43 | 262.61 | 292.3 | 228.35 | 228.35 | 379.08 | 145.25 | 315.4 | 193.82 | 219.44 | 178.14 | 399.53
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44 | 333.44
Point (b) UCAP Price, $/MW-Day | 181.89 | 226.13 | 269.13 | 179.55 | 304.07 | 304.07 | 196.96 | 219.23 | 179.55 | 179.55 | 284.31 | 179.55 | 236.55 | 179.55 | 179.55 | 179.55 | 299.65
Point (c) UCAP Price, $/MW-Day | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55 | 179.55
Point (d) UCAP Price, $/MW-Day | 179.55 | 179.55 | 179.55 |  | 179.55 | 179.55 | 179.55 | 179.55 |  |  | 179.55 |  | 179.55 |  |  |  | 179.55
Point (a) UCAP Level, MW | 141681.1 | 54901.8 | 31276.3 | 13538.4 | 11187.1 | 5580.9 | 2626.3 | 6559.7 | 12260.7 | 5478.2 | 21557.6 | 7091.3 | 10775.8 | 3736.5 | 5575.8 | 27584.1 | 6292.8
Point (b) UCAP Level, MW | 143217.7 | 55387.3 | 31415 | 13682.7 | 11207.1 | 5590.9 | 2655.3 | 6620.8 | 12387.2 | 5534.7 | 21626.6 | 7157 | 10858 | 3772.6 | 5632.3 | 27842.7 | 6305.9
Point (c) UCAP Level, MW | 143272.2 | 55724.5 | 31724.1 | 14102.1 | 11342.8 | 5658.6 | 2662.2 | 6656.2 | 12760.3 | 5701.4 | 21862.1 | 7399.5 | 10935.3 | 3892.3 | 5804.5 | 28745.1 | 6380.6
Point (d) UCAP Level, MW | 147450.8 | 57024.4 | 32343.5 |  | 11538.4 | 5756.2 | 2733.8 | 6816.5 |  |  | 22265.8 |  | 11178.9 |  |  |  | 6492.3
Nominated PRD Value, MW | 115 | 115 | 0 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 0 | 0 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 333.44 | 333.44 |  | 333.44 | [7 empty] | 333.44
Point (b1) UCAP Price, $/MW-Day | 181.89 | 226.13
Point (prd1) UCAP Price, $/MW-Day | 179.55 | 179.55 |  | 179.55 | [7 empty] | 179.55
Point (b2) UCAP Price, $/MW-Day |  |  |  | 179.55 | [7 empty] | 179.55
Point (c) UCAP Price, $/MW-Day | 179.55 | 179.55 |  | 179.55 | [7 empty] | 179.55
Point (d) UCAP Price, $/MW-Day | 179.55 | 179.55
Point (a1) UCAP Level, MW | 141574.6 | 54795.3 |  | 13431.9 | [7 empty] | 6984.8
Point (b1) UCAP Level, MW | 143111.2 | 55280.8
Point (prd1) UCAP Level, MW | 143165.7 | 55618 |  | 13576.2 | [7 empty] | 7050.5
Point (b2) UCAP Level, MW |  |  |  | 13682.7 | [7 empty] | 7157
Point (c) UCAP Level, MW | 143272.2 | 55724.5 |  | 14102.1 | [7 empty] | 7399.5
Point (d) UCAP Level, MW | 147450.8 | 57024.4
Pre-Auction Credit Rate, $/MW | 44381.16 | 55174.5 | 65667.72 | 40036.74 | 74193.69 | 74193.69 | 48057.63 | 53490.9 | 41788.05 | 41788.05 | 69371.64 | 26580.75 | 57718.2 | 35469.06 | 40157.52 | 32599.62 | 73113.99
Post-Auction Credit Rate, $/MW | 24407.808 | 24407.808 | 29653.3932 | 24407.808 | 49348.3839 | 49348.3839 | 24407.808 | 24407.808 | 24407.808 | 24407.808 | 38209.4484 | 24407.808 | 24407.808 | 24407.808 | 24407.808 | 24407.808 | 46854.2769
Please see 27/28 BRA Auction Results file (BRA ICTRs tab) for data on awarded Participant-Funded ICTRs
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 97.8% | 80.8% | 60.1% | NA | NA | 30.2% | NA | NA | NA | NA | 18.9% | NA | NA | 13% | 86.8% | NA
* - Participant Funded ICTRs will be updated on final Planning Parameters posting after the completion of the 27/28 BRA
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO (Capacity Emergency Transfer Objective) | CETL (Capacity Emergency Transfer Limit) | CETL to CETO Ratio % | 2024 Zonal W/N Coincident Peak Loads | LA Adder** | Preliminary Zonal Peak Load Forecast minus LA Adder | Base Zonal FRR Scaling Factor | Preliminary Zonal Peak Load Forecast | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast minus FRR Load | LDA/Zone
RTO | NA | NA | NA | 153194 | 13667.7 | 150911.3 | NA | 164579 | 12201.9 | 152377.1 | RTO
AE | 2209 | >2,540.4 | >115% | 2370 | 0 | 2357 | 0.99451 | 2357 | 0 | 2357 | AE
AEP | 1994 | >2,293.1 | >115% | 22370 | 4818 | 21554 | 0.96352 | 26372 | 12201.9 | 14170.1 | AEP
APS | 1681 | >1,933.2 | >115% | 8790 | 412 | 8598 | 0.97816 | 9010 | 0 | 9010 | APS
ATSI | 3874 | 9919 | 256% | 12207.6 | 304.6 | 12387.4 | 1.0147 | 12692 | 0 | 12692 | ATSI
ATSI-CLEVELAND | 3802 | 4938 | 129.9% | NA | 0 | 4289.9 | NA | 4289.9 | 0 | 4289.9 | ATSI-CLEVELAND
BGE | 4750 | 5975 | 125.8% | 6310 | 27 | 6301 | 0.99857 | 6328 | 0 | 6328 | BGE
COMED | -1168 | 3965 | * | 19040 | 893 | 18505 | 0.9719 | 19398 | 0 | 19398 | COMED
DAYTON | 2796 | 4665 | 166.8% | 3190 | 297 | 3158 | 0.98997 | 3455 | 0 | 3455 | DAYTON
DEOK | 2805 | 4938 | 176% | 5060 | 1 | 5120 | 1.0119 | 5121 | 0 | 5121 | DEOK
DLCO | 1856 | >2,134.4 | >115% | 2640 | 0 | 2629 | 0.99583 | 2629 | 0 | 2629 | DLCO
DOM | 6802 | 6598 | 94.69% | 22356.1 | 4870.1 | 21148.9 | 0.946 | 26019 | 0 | 26019 | DOM
DPL | 1491 | >1,714.7 | >115% | 3760 | 0 | 3749 | 0.99707 | 3749 | 0 | 3749 | DPL
DPL SOUTH | 1642 | 1974 | 120.2% | NA | 0 | 2298.1 | NA | 2298.1 | 0 | 2298.1 | DPL SOUTH
EKPC | 612 | >703.8 | >115% | 2390.3 | 0 | 2413 | 1.0095 | 2413 | 0 | 2413 | EKPC
JCPL | 3692 | 4331 | 117.3% | 5810 | 0 | 5747 | 0.98916 | 5747 | 0 | 5747 | JCPL
METED | 1485 | >1,707.8 | >115% | 2960 | 0 | 3037 | 1.026 | 3037 | 0 | 3037 | METED
OVEC | NA | NA | NA | 60 | 0 | 60 | 1 | 60 | 0 | 60 | OVEC
PECO | 2929 | >3,368.4 | >115% | 8120 | 71 | 8187 | 1.0083 | 8258 | 0 | 8258 | PECO
PENLC | 253 | >291.0 | >115% | 2760 | 0 | 2804 | 1.0159 | 2804 | 0 | 2804 | PENLC
PEPCO | 4242 | 6776 | 159.7% | 5810 | 0 | 5887 | 1.0133 | 5887 | 0 | 5887 | PEPCO
PL (incl. UGI) | 2161 | 6181 | 286% | 7100 | 1528 | 7190 | 1.0127 | 8718 | 0 | 8718 | PL (incl. UGI)
PS | 6878 | 9307 | 135.3% | 9700 | 446 | 9689 | 0.99887 | 10135 | 0 | 10135 | PS
PS NORTH | 3097 | 4623 | 149.3% | NA | 0 | 5077.6 | NA | 5077.6 | 0 | 5077.6 | PS NORTH
RECO | NA | NA | NA | 390 | 0 | 390 | 1 | 390 | 0 | 390 | RECO
EMAAC | 6366 | 8025 | 126.1% |  |  |  |  | 30636 | 0 |  | EMAAC
SWMAAC | 6760 | 6698 | 108.3% |  |  |  |  | 12215 | 0 |  | SWMAAC
Western MAAC | -5680 | * | * |  |  |  |  | 14559 | 0 |  | Western MAAC
MAAC | 1738 | 2598 | * |  |  |  |  | 57410 | 0 |  | MAAC
Western PJM | 1227 | >1,411.1 | * |  |  |  |  | 81150 | 12201.9 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
** LA Adder represents Load Adjustments in auction DY for each zone. See M19 Attachment B.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Mean Voltage |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
EMAAC | Mean Voltage |  | Wishing Star - Mosby 500 kV Ckt #1 for the loss of Wishing Star - Mosby 500 kV Ckt #2 Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Elroy - Hosensack 500 kV for the loss of Alburtis - Branchburg 500 kV Keeney - Rock Springs 500 kV for the loss of Peach Bottom - Limerick 500 kV circuit
SWMAAC | Mean Voltage |  | Voltage collapse for the loss of Brandon Shores unit #2
PS | Mean Thermal |  | Brunswick - Meadow Road 230 kV ckt Z2331 for the loss of Metuchen -Pierson Ave - Meadow Rd- Deans 230 kV ckt s2219Roseland - Williams PIPE 230 kV for the loss of Roseland - Cedar Grove 230 kV Kitattiny - Bush 230 kVline for the loss of Portland - Martins Creek 230 kV Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Roseland - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Elroy - Hosensack 500 kV for the loss of Alburtis - Branchburg 500 kV Peach Bottom _Limerick 500 kV for the loss of Keeney - ROck Springs 500 kV
PSNORTH | Discrete Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Roseland - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Peach Bottom _Limerick 500 kV for the loss of Keeney - ROck Springs 500 kV Stanley Terrance - McCarther 230kV for the loss of WEST ORANGE - ORANGE HEIGHTS 230 kV
DPLSOUTH | Mean Thermal |  | Cool Springs - Miford 230 kV for the loss of Milford - Indian River 230 kV line
PEPCO | Mean/Discrete Voltage |  | Chalk Point 500/230 kV transformer #1 for the loss of Chalk Point 500/230 kV transformer #2
ATSI | Mean Thermal |  | Sporn - Muskingum River 345 kV line for the loss of Muskingum River - Waterford 345 kV line, or
ATSI-CLEVELAND | Mean/Discrete thermal |  | Sporn - Muskingum River 345 kV line for the loss of Muskingum River - Waterford 345 kV line
COMED | Mean Thermal |  | East Frankfort - Gooding Grove 345 kV pre-contingency R.P.Mone - Allen 345 kV for the loss of Marysville - Sorenson 765 kV Loretto - Pontiac Mid point 345 kV for the loss of the Dresden - Pintiac Midpoint 345 kV
BGE | Mean/Discrete Voltage |  | Voltage collapse for the loss of the Waugh Chapel 230 kV capacitor
PL | Mean Thermal |  | Susquahanna 500/230 kV transformer for the loss of Lackawanna - Shickshinny 500 kV Wishing Star - Mosby 500 kV Ckt #1 for the loss of Wishing Star - Mosby 500 kV Ckt #2
DAYTON | Mean/Discrete Voltage |  | Knollwood - Overlook 138 kV for the loss of Greene - Overlook - Monument 138 kV S.W. Lima - West Moulton 138 kV for the loss of Gristmill - S.W. Lima 345 kV
DEOK | Mean Thermal |  | Pierce 345/138 kV transformer #18 for the loss of Pierce - Foster 345 kV line
DOM | Discrete Voltage |  | Dickerson - Dickerson H 230 kV ckt #1&2 for the loss of Doubs - Goose Creek 500 kV Goose Greek 500/230 kV transformer for the loss of Brambleton - Goose Creek 500 kV
JCPL | Discrete Thermal |  | Smithburg - East Windsor 230 kV for the loss of Deans - Smithburg 500 kV
8/26/2025 - Initial posting - please note that resources with Reliability Must Run requirements are included in the Planning Parameters modeling.
8/26/2025 - Cap set to $256.75/MW-ICAP Floor set to $138.25/MW-ICAP per ER25-1357. When floor price is reached all available capacity will be procured at that price.
9/4/2025 - "VRR curve adjusted for PRD" updated to more accurately reflect PRD submitted plans with the cap/floor mechanism.
10/17/25 - Updated for FRR Obligations.
11/4/2025 - Updated CETL values for MAAC (-415), SWMAAC (-621) and DOM (+157) due to removal of planned Chanceford-Doubs 500kv Backbone transmission line from model.
1/5/2026 - Added Post Auction Credit Rate values

## Net CONE
RPM CONE and E&AS Values for 2027/2028 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / Pool-Wide Average Accredited UCAP Factor
Reference Resource Accredited UCAP Factor | [6 empty] | 77%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: ComEd
Zone/LDA | 2026/2027 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2027/2028 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Forward Net E&AS Revenue Offset, $/MW-Year | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 136000 | 1.0457 | 142215.744 | 504.63
AE |  |  |  | 504.63 | 32270.22 | 300.3976 | 390.13
DPL |  |  |  | 504.63 | 68206.54 | 202.2109 | 262.61 | DPL SOUTH
JCPL |  |  |  | 504.63 | 29620.38 | 307.6376 | 399.53 | JCPL
PE |  |  |  | 504.63 | 54687.72 | 239.1476 | 310.58
PSEG |  |  |  | 504.63 | 27957.52 | 312.1809 | 405.43 | PS, PSEG NORTH
RECO |  |  |  | 504.63 | 33786.68 | 296.2543 | 384.75
EMAAC |  |  |  | 504.63 |  | 276.31 | 358.84 | EMAAC
CONE Area 2 | 142000 | 1.0394 | 147600.622 | 523.74
BGE |  |  |  | 523.74 | 106667.04 | 111.8404 | 145.25 | BGE
PEPCO |  |  |  | 523.74 | 65223.64 | 225.0737 | 292.3 | PEPCO
SWMAAC |  |  |  | 523.74 |  | 168.46 | 218.78 | SWMAAC
CONE Area 4 | 143500 | 1.0106 | 145016.508 | 514.57
METED |  |  |  | 514.57 | 72031.24 | 199.4133 | 258.98
PENELEC |  |  |  | 514.57 | 102309.2 | 116.6866 | 151.54
PPL |  |  |  | 514.57 | 56130.98 | 242.8566 | 315.4 | PPL
MAAC |  |  |  | 510.82 |  | 232.16 | 301.5 | MAAC
CONE Area 3 | 147600 | 1.0364 | 152978.9868 | 542.83
AEP |  |  |  | 542.83 | 92608.98 | 164.9454 | 214.21
APS |  |  |  | 542.83 | 105126.18 | 130.7454 | 169.8
ATSI |  |  |  | 542.83 | 88624.46 | 175.832 | 228.35 | ATSI, ATSI CLEVELAND
DAYTON |  |  |  | 542.83 | 98356.4 | 149.242 | 193.82 | DAYTON
DEOK |  |  |  | 542.83 | 91137.66 | 168.9654 | 219.44 | DEOK
DLCO |  |  |  | 542.83 | 77228.44 | 206.9687 | 268.79
DOM |  |  |  | 542.83 | 102776.46 | 137.1654 | 178.14 | DOM
EKPC |  |  |  | 542.83 | 86865.22 | 180.6387 | 234.6
OVEC |  |  |  | 542.83 | 85718.42 | 183.772 | 238.66
CONE Area 5 | 150800 | NA | 158730.9967 | 563.24
COMED |  |  |  | 563.24 | 51900.02 | 291.8879 | 379.08 | COMED
RTO | 143980 |  | 149308.5715 | 529.8 | 80961.64 | 186.7403 | 242.52 | RTO
CONE Area 5 based on asset life factor of CONE Area 3. 25/26: 1.0069; 27/28: 1.0376; 28/29: 1.0581; 29/30: 1.0818
* The 2026/2027 BRA CONE values are based on PJM’s filing (Docket No. ER25-682) which was FERC approved on February 18, 2025.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2027/2028 model
UpgradeId | Description | Transmission Owner
b3770 | Rebuild 1.4 miles of existing single circuit 230 kV tower line between BGE's Graceton substation to the Brunner Island PPL tie-line at the MD/PA state line to double circuit steel pole line with one (1) circuit installed to uprate 2303 circuit | BGE
b3771 | Reconductor two (2) 230 kV circuits from Conastone to Northwest #2 | BGE
b3800.4 | New Otter Creek to Doubs 500 kV line (MD Border-PSEG Demarcation Point). Rebuild and expand existing ~1.6 miles of Otter Creek-Conastone 230 kV line to become a double-circuit 500 and 230 kV lines. | BGE
b3693 | Expand substation and install approximately 294 MVAR cap bank at 500 kV Lexington substation along with a 500 kV breaker. Adjust the tap positions associated with the two 230/69 kV transformers at Harrisonburg to neutral position and lock them. | Dominion
b3800.203 | Install a 2nd 500-230 kV 1440MVA transformer at Mars substation | Dominion
b3800.305 | Install one (1) 300 MVAR Static synchronous Compensator (STATCOM) & associated equipment at Beaumeade substation. | Dominion
b3800.306 | Install one (1) 500KV, 150 MVAr Shunt Capacitor Bank & associated equipment at Morrisville substation. This addition will require a control house expansion to accommodate for two new panels. | Dominion
b3800.307 | Install one (1) 500kV, 300 MVAR Static synchronous Compensator (STATCOM) & associated equipment at Mars substation. | Dominion
b3800.359 | Wreck and rebuild Line #2090 Ladysmith CT – Summit D.P. segment as a double circuit 230kV line to achieve a summer rating of 1573 MVA. Only one circuit will be wired at this stage. Upgrade circuit breaker leads, switches and line leads at Ladysmith CT to 4000A | Dominion
s2608.7 | Install (1) 840 MVA 500-230 kV transformer at Bristers Substation and associated 500 kV and 230 kV equipment. Expand Bristers Substation to the north of the existing site to accommodate the 230 kV breaker ring required for the addition of the new transformer. Line terminations for 115kV Line #183 Bristers– Ox), 230kV Line #2101 Bristers–Vint Hill 230 kV, and 500kV Line #539 Ox–Bristers) will be re-arranged to accommodate the expansion. | Dominion
b3769 | Install second TMI 500/230kV Transformer with additional 500 and 230 bus expansions | ME
b3800.2 | Break the existing TMI-Peach Bottom line within the existing right-of-way and install new structures rerouting the line toward Chanceford switchyard taps being constructed by PPL. | ME
b3800.1 | Build New Otter Creek 500 kV (Collinsville) - (switching station -Two bay three breaker configuration). | PPL
b3800.3 | Build New 500kV AC line from the new Otter Creek (Chanceford) 500 kV switchyard – towards PA/MD border ~12.5 miles Ø Rebuild the existing Otter Creek - Conastone 230 kV line to become a double-circuit 500 kV line, operate Conastone circuit at 230 kV initially | PPL
s3311.1 | Break the existing Juniata (JUNI)-Three Mile Island (TMIS) 500kV line and extend the lines 0.1 miles into a new four bay Bernheisel (BERN) 500kV breaker-and-a-half yard. | PPL
Key Transmission Upgrades included for 2026/2027 model but not included for 2027/2028 model
Upgrade ID | Description | Transmission Owner
None